Załącznik nr 3

Lista akcesoriów chromatograficznych 1- komplet

| L.p. | Opis | Ilość |
| --- | --- | --- |
| 1 | Zestaw Mid Range¦ Fiolki chromatograficzne 2ml szklane, zakręcane, przezroczyste z ceramiczną skalą i polem do opisu oraz nakrętki PP niebieskie z zintegrowaną septą PTFE czerwony/Silikon czerwony, 1000sztuk | 5 |
| 2 | Zestaw Mid Range¦ Fiolki chromatograficzne 2ml szklane, zakręcane, bursztynowe z ceramiczną skalą i polem do opisu oraz nakrętki PP niebieskie z zintegrowaną septą PTFE czerwony/Silikon czerwony, 1000sztuk | 1 |
| 3 | Certified Headspace Crimp Top Glass Vials, 20 ml, 23x75 mm, white, flat bottom, 100szt./op | 2 |
| 4 | Certified Headspace Crimp Top Glass Vials, 20 ml, 23x75 mm, amber, flat bottom, 100szt./op | 1 |
| 5 | Silver aluminum PTFE/silicone septa, silver aluminum one piece crimp cap, 20mm, for headspace vials, 100 per pack. | 4 |
| 6 | Split/Splitless 5 low pressure drop Deactivated Borosilicate glass pesticide grade glasswool held in place by glass extrusions. | 3 |
| 7 | Ergonomic Manual DeCapper for 20mm caps | 1 |
| 8 | Glass wool, silane-treated, 50 grams | 1 |
| 9 | Ferrule, 0.5mm ID, Graphite, 0.1- 0.32mm column, short, 10/pk | 2 |
| 10 | Ferrule, 0.5 mm ID, preconditioned for MSD interface, 15% graphite/85% Vespel, 0.32 mm column, long, 10/pk | 1 |
| 11 | Tool, wrench ¼ inch to 5/16 inch | 1 |
| 12 | PTFE Frits 5PK | 2 |
| 13 | Peristaltic pump, silicone tubing | 1 |
| 14 | Needle, for Agilent 1260 Infinity autosampler | 1 |
| 15 | Seat assembly, PEEK, 0.17 mm | 1 |
| 16 | Plunger seal for 1100 and 1050 2/PK | 1 |
| 17 | Seal, wash | 1 |
| 18 | Gaskets wash seal 6/PK | 1 |
| 19 | Non-stick Liner O-ring 10/pk. | 1 |
| 20 | Column nut for GC capillaries, 2/pk | 2 |
| 21 | Replacement cap for solvent bottles | 2 |
| 22 | Kolumna do GC DB-17; 30 m x 0,320 mm x 0,50 um | 1 |
| 23 | Poroshell 120 EC-C18 4,6 x 100 x 2,7 um | 1 |
| 24 | Eclipse Plus C18 Analytical 4.6 mm x 150 mm, 5 μm particle size | 1 |
| 25 | Poroshell 120 EC-C18 4,6mm x 150 mm, 2,7 μm particle size | 1 |
| 26 | Hel 6.0 50l 9,1m3 200 bar | 2 |
| 27 | Premium Syringe Filter RC 0,45 um 100/pk. | 3 |